## 0. Revision
National Emergency Operations Centre
Geotechnical Investigation Bill of Quantities
Document No: | C0438-G-BoQ-01
Revision No. | 1
Published Date: | 2024-10-22
Respondent: | Insert Contractors name
Document Control
Revision | Date | Description | Author | Reviewer | Approver
1 | 2024-01-03 | Draft | E. Collings |  | E. Collings

## 1. Instructions
National Emergency Operations Centre
Instructions
The tabs provided in this spreadsheet are related to the chapters of the New Zealand Ground Investigations Specifications (NZGS), Volume 1: Master Specifications, and adapted by Geologix to suit the Scope and site specific information. Please provide costs against each line item. Where a service or item cannot be provided, please enter 'NA' in the rate column, and provide a reason for excluding the item. Cells coloured in green are locked by the purchaser. They are fixed to provide equal evaluation across all tender submissions, and prevent confusion. Where deviation from a green item is required, the appropriate green cell shall have 'NA' entered in the rate cell and a new line item entered into a orange coloured cell. Rates are to be entered into the blue cells and shall relate to the units specified in this Bill of Quantities (BoQ). Basis of Payment. The representative scope of investigation is presented the RFQ Document Attachments 1, 2 and 3, and NZGS Volume 1. The specific Site Plans in Attachment 2 is Drawing Refs. 100 and 101. The requirements in the before mentioned documents take precedence over the details given in this Section. The rates entered in this BoQ shall be for the full inclusive value of the work including but not limited to the following: - Labour, and all related costs. - Plant, and all related costs. - Supply and transportation of materials, goods, storage and all related costs in connection with the works including waste storage, removal and disposal. - Supply of all miscellaneous equipment, facilities required to complete the scope of works. - Supply of acceptable tubes and core boxes which (when used) shall become the property of the CIIC. - Establishment charges, overheads, insurance, and profit. - Liabilities, obligations, and risk involved in the execution of the scope of works specified in the Scope, Contract, and this BoQ, including all necessary safety precautions. - Taking all necessary precautions to avoid damage to existing structures, sewers, drains, utilities and services. - Informing the delagated representative of Geologix of any unusual occurrence during any of the scope of works. - Waiting time of the drilling rig and crew while field testing and sampling are being undertaken. - Compliance with all regulatory requirements. - Re-work as a result of failure by the Contractor to meet the requirements of the Scope and Contract The following tems shall be excluded from the rates given unless specifically requested: - Cook Islands VAT. - Waiting times of delays in excess of those specified. - Weather delay.
Standing Time (Compensation Event under NEC4) Standing time shall be paid where a delay is not caused by the Contractor, excluding events noted below. Delays results from the action or omission of action by the Contractor shall be at the cost of the Contractor. Standing time shall not be paid for programmed tasks outside of drilling operations including (but not limited to) the following: - Project inductions. - Project workshops (if required). - Daily prestart, toolbox, health and safety meetings, break times. Only one standing time rate shall be paid for each agreed standing time event. By default this rate shall be that set out in 3. Preliminaries 3.8.
Abbreviations The following abbreviations and definitions have been applied in this BoQ:
1 | Location = Investigation Location/ Exploratory borehole
2 | LS = Lump Sum
3 | hr = Hour
4 | m = metre
5 | No = Number

## 2. Summary
Summary of Proposal Submission
Sections
Tab | Description |  | Section Totals ex. VAT
3 | Preliminaries |  | 0
4 | Machine Boreholes |  | 0
5 | Hand Tool |  | 0
6 | In-situ |  | 0
7 | Install |  | 0
|  | GRAND TOTAL = | 0

## 3. Preliminaries
3. PRELIMINARIES
Item |  |  |  |  | Sheet total: $0 |  | Breakdown by Exploratory Location
Item | Item Description | Clause (NZGS Vol-1) | Unit | Rate | Quantity | Amount | Rate Only | MBH01 | MBH02 | MBH03
3.0 | Provision, mobilisation and demobilisation of all Contractor's personnel, equipment, vehicles, and materials to site in Avarua, Cook Islands. | N/A | LS |  | 1 | 0 | 1 | 0 | 0 | 0
3.1 | Daily personnel expenses (including accommodation / daily travel / meals / allowances etc) | N/A | Day |  | 6 | 0 |  | 2 | 2 | 2
3.2 | Check that all necessary permits and consents have been obtained | N/A |  |  | 1 | 0 | 1
3.3 | Review Site Information Pack | 2.3 | Location |  | 3 | 0 |  | 1 | 1 | 1
3.4 | Provide Health and Safety plan including task method statements, risk assessments and Job Safety Analysis (JSA). | 2.2 | LS |  | 1 | 0 | 1
3.5 | Undertake service/ utility clearance of each borehole position. | 2.4 | Location |  | 3 | 0 |  | 1 | 1 | 1
3.6 | Water supply via support truck, IBC, or large tank | 2.9 | Location |  | 3 | 0 |  | 1 | 1 | 1
3.7 | Standing time for delays outside Contractors control within programmed working hours | N/A | hr |  | 1 | 0 | 1
3.8 | Compliance will all other Contractors responsibilities in Scope | 2 | LS |  | 1 | 0 | 1
3.9 | Reinstatement of Investigation Location | 2.13 to 2.14 | Location |  | 3 | 0 |  | 1 | 1 | 1
3.1 | Safely dispose of all arisings, cuttings, spillage and used drilling fluids offsite at an approved disposal facility. | 2.15 | Location |  | 3 | 0 |  | 1 | 1 | 1
3.11 |  |  |  |  | 0 | 0
3.12 |  |  |  |  | 0 | 0
3.13 |  |  |  |  | 0 | 0
3.14 |  |  |  |  | 0 | 0
3.15 |  |  |  |  | 0 | 0
3.16 |  |  |  |  | 0 | 0
3.17 |  |  |  |  | 0 | 0
3.18 |  |  |  |  | 0 | 0
3.19 |  |  |  |  | 0 | 0
3.2 |  |  |  |  | 0 | 0
3.21 |  |  |  |  | 0 | 0
3.22 |  |  |  |  | 0 | 0
3.23 |  |  |  |  | 0 | 0
3.24 |  |  |  |  | 0 | 0
3.25 |  |  |  |  | 0 | 0
3.26 |  |  |  |  | 0 | 0
3.27 |  |  |  |  | 0 | 0

## 4. Machine Boreholes
4. Machine Boreholes
Item |  |  |  |  | Sheet total: $0 |  | Breakdown by Exploratory Location
Number | Item Description | Clause (NZGS Vol-1) | Unit | Rate | Quantity | Amount | Rate Only | MBH01 | MBH02 | MBH03
Set up
4.1 | Set up all drilling equipment at each Investigation Location | 6.1 | Location |  | 3 | 0 |  | 1 | 1 | 1
Rotary Core Drilling
4.2 | Rotary core drilling (NQ size) in Soil | 6.2 | m |  | 1 | 0 | 1
4.3 | Rotary core drilling (NQ size) in Soft Rock | 6.2 | m |  | 1 | 0 | 1
4.4 | Rotary core drilling (NQ size) in Hard Rock | 6.2 | m |  | 1 | 0 | 1
4.5 | Rotary core drilling (HQ size) in Soil | 6.2 | m |  | 30 | 0 |  | 10 | 10 | 10
4.6 | Rotary core drilling (HQ size) in Soft Rock | 6.2 | m |  | 1 | 0 | 1
4.7 | Rotary core drilling (HQ size) in Hard Rock | 6.2 | m |  | 30 | 0 |  | 10 | 10 | 10
4.8 | Rotary core drilling (PQ size) in Soil | 6.2 | m |  | 1 | 0 | 1
4.9 | Rotary core drilling (PQ size) in Soft Rock | 6.2 | m |  | 1 | 0 | 1
4.1 | Rotary core drilling (PQ size) in Hard Rock | 6.2 | m |  | 1 | 0 | 1
4.11 | Extra-over items above for drilling 20-50m deep | 6.2 | m |  | 1 | 0 | 1
Miscellaneous
4.12 | Extra over for core orientation tooling, equipment, consumables, plant modification |  | LS |  | 1 | 0 | 1
4.13 | Supply, installation and removal of HWT casing to stabilise ground | N/A | m |  | 30 | 0 |  | 10 | 10 | 10
4.14 | Backfill on completion with a cement / bentonite grout | 6.1.7 | m |  | 20 | 0 |  |  |  | 20
4.15 | Secure known or suspected to be contaminated equipment prior to demobilisation from investigation location for decontamination at Contractor's yard. | 3.3 | LS |  | 1 | 0 | 1
4.16 | Supply, label, and assist to fill core boxes, wrap and protect core | - | LS |  | 1 | 0 | 1
4.17 |  |  |  |  | 0 | 0
4.18 |  |  |  |  | 0 | 0
4.19 |  |  |  |  | 0 | 0
4.2 |  |  |  |  | 0 | 0
4.21 |  |  |  |  | 0 | 0
4.22 |  |  |  |  | 0 | 0
4.23 |  |  |  |  | 0 | 0
4.24 |  |  |  |  | 0 | 0
4.25 |  |  |  |  | 0 | 0

## 5. Hand Tool
5. Hand Augers
Item |  |  |  |  | Sheet total: $0 |  | Breakdown by Exploratory Location
Number | Item Description | Clause (NZGS Vol-1) | Unit | Rate | Quantity | Amount | Rate Only | HA01 | HA02 | HA03 | HA04 | HA05 | HA06 | HA07 | DCP01 | DCP02 | DCP03 | DCP04 | DCP05 | DCP06
Hand Augers
5.1 | Mobilisation and demobilisation (extra over 3.0) | N/A | LS |  | 1 | 0 | 1
5.2 | Set up all equipment at each location | 5 | Location |  | 7 | 0 | bar: HA01 to DCP06
5.3 | Hand auger (50mm diameter) | 5 | m |  | 35 | 0 |  | HA01: 5; HA02: 5; HA03: 5; HA04: 5; HA05: 5; HA06: 5; HA07: 5
5.4 | Standing time for delays outside Contractor's control | N/A | hr |  | 1 | 0 | 1
Dynamic Cone Penetrometers (Scalas)
5.5 | Mobilisation and demobilisation (extra over 3.0) | N/A | LS |  | 1 | 0 | 1
5.6 | Set up all equipment at each location | 5 | Location |  | 6 | 0 | bar: HA01 to DCP06
5.7 | Scala Penetrometer | 5 | m |  | 12 | 0 |  | DCP01: 2; DCP02: 2; DCP03: 2; DCP04: 2; DCP05: 2; DCP06: 2
5.8 | Standing time for delays outside Contractor's control | N/A | hr |  | 1 | 0 | 1
5.9 |  |  |  |  | 0 | 0
5.1 |  |  |  |  | 0 | 0
5.11 |  |  |  |  | 0 | 0
5.12 |  |  |  |  | 0 | 0
5.13 |  |  |  |  | 0 | 0
5.14 |  |  |  |  | 0 | 0
5.15 |  |  |  |  | 0 | 0
5.16 |  |  |  |  | 0 | 0
5.17 |  |  |  |  | 0 | 0
5.18 |  |  |  |  | 0 | 0
5.19 |  |  |  |  | 0 | 0
5.2 |  |  |  |  | 0 | 0
5.21 |  |  |  |  | 0 | 0
5.22 |  |  |  |  | 0 | 0
5.23 |  |  |  |  | 0 | 0
5.24 |  |  |  |  | 0 | 0
5.25 |  |  |  |  | 0 | 0
5.26 |  |  |  |  | 0 | 0

## 6. In-situ
6. In-situ Testing
Item |  |  |  |  | Sheet total: $0 |  | Breakdown by Exploratory Location
Number | Item Description | Clause (NZGS Vol-1) | Unit | Rate | Quantity | Amount | Rate Only | MBH01 | MBH02 | MBH03 | CPT01 | CPT02 | CPT03 | CPT04
Standard Penetration Testing
6.1 | Standard Penetration Test | 12.1 | No |  | 39 | 0 |  | MBH01: 13; MBH02: 13; MBH03: 13
Cone Penetration Testing
6.2 | Mobilisation and demobilisation of CPT equipment (extra over 3.0) on Land | N/A | LS |  | 1 | 0 | 1
6.3 | Daily personnel expenses for CPT operator (including accommodation / daily travel / meals / allowances etc) | N/A | Day |  | 3 | 0 | 3
6.4 | Set up all CPT equipment at each Exploratory Location | 12.2 | Location |  | 4 | 0 | bar: MBH01 to CPT04
6.5 | Cone Penetration Test (electronic friction cone with pore water pressure measurement) |  | m |  | 20 | 0 |  | CPT03: 20
6.6 | Cone Penetration Test (electronic friction cone with pore water pressure measurement and seismic) | 12.2 | m |  | 60 | 0 |  | CPT01: 20; CPT02: 20; CPT04: 20
6.7 | Cone Penetration Test (dissipation test) | 12.2.5 | hr |  | 4 | 0 | bar: MBH01 to CPT04
6.8 | Standing time for delays to CPT operator outside Contractor's control | 12.2 | hr |  | 1 | 0 | 1
6.9 |  |  |  |  | 0 | 0
6.1 |  |  |  |  | 0 | 0
6.11 |  |  |  |  | 0 | 0
6.12 |  |  |  |  | 0 | 0
6.13 |  |  |  |  | 0 | 0
6.14 |  |  |  |  | 0 | 0
6.15 |  |  |  |  | 0 | 0
6.16 |  |  |  |  | 0 | 0
6.17 |  |  |  |  | 0 | 0
6.18 |  |  |  |  | 0 | 0
6.19 |  |  |  |  | 0 | 0
6.2 |  |  |  |  | 0 | 0
6.21 |  |  |  |  | 0 | 0
6.22 |  |  |  |  | 0 | 0
6.23 |  |  |  |  | 0 | 0
6.24 |  |  |  |  | 0 | 0
6.25 |  |  |  |  | 0 | 0
6.26 |  |  |  |  | 0 | 0
6.27 |  |  |  |  | 0 | 0

## 7. Install
7. Installations
Item |  |  |  |  | Sheet total: $0 |  | Breakdown by Exploratory Location
Number | Item Description | Clause (NZGS Vol-1) | Unit | Rate | Quantity | Amount | Rate Only | MBH01 | MBH02 | MBH03
Standpipe for groundwater monitoring
7.1 | 32mm internal diameter uPVC, threaded connection | 13.1, 13.2 | m |  | 36 | 0 |  | 18 | 18
7.2 | 32mm internal diameter machine slotted uPVC, threaded connection | 13.1,13.2 | m |  | 4 | 0 |  | 2 | 2
7.3 | 32mm uPVC end cap | 13.1, 13.2 | Each |  | 2 | 0 |  | 1 | 1
7.4 | Extra over for filter fabric wrap around slotted section | 13.1, 13.2 | m |  | 36 | 0 |  | 18 | 18
7.5 | Filter material (gravel sized) | 13.1, 13.2 | m |  | 36 | 0 |  | 18 | 18
7.6 | Filter material (sand sized) | 13.1, 13.2 | m |  | 0 | 0
7.7 | Blinding material (fine sand) | 13.1, 13.2 | m |  | 1 | 0 | 1
7.8 | Bentonite (pellets) | 13.1, 13.2 | m |  | 4 | 0 |  | 2 | 2
Toby Box/ Gatic Cover/ Well Head Assembly
7.9 | Flush mounted Toby box 150mm to 200mm diameter with non-ferrous lid | 13.1, 13.2 | Each |  | 2 | 0 |  | 1 | 1
7.1 |  |  |  |  | 0 | 0
7.11 |  |  |  |  | 0 | 0
7.12 |  |  |  |  | 0 | 0
7.13 |  |  |  |  | 0 | 0
7.14 |  |  |  |  | 0 | 0
7.15 |  |  |  |  | 0 | 0
7.16 |  |  |  |  | 0 | 0
7.17 |  |  |  |  | 0 | 0
7.18 |  |  |  |  | 0 | 0
7.19 |  |  |  |  | 0 | 0
7.2 |  |  |  |  | 0 | 0
7.21 |  |  |  |  | 0 | 0
7.22 |  |  |  |  | 0 | 0
7.23 |  |  |  |  | 0 | 0
7.24 |  |  |  |  | 0 | 0
7.25 |  |  |  |  | 0 | 0
7.26 |  |  |  |  | 0 | 0
7.27 |  |  |  |  | 0 | 0